## 16. Expired CWMS 2
Certificate Holder | Product(Model) | Certificate No. | Date of issue | Certified Parameter(s) | Certified Range | Certified Range | Certified Range | Certified Range | Units | Class | Standard(s)* | Version | Tel. no. | UK Sales tel. no. | Email address/Website
ATI, Analytical Technology Inc. | Q45P/R pH Measuring System | Sira MC 090149 03 |  | pH units | 2-12 | - | - | - |  | n/a |  |  |  | +44 (0)1457 873 318 | sales@ATIUK.com www.analyticaltechnology.com
Hach | Hyrdrolab DS5, DS5X & MS5 Sonde with Field Rugged PDA unit | Sira MC 100180 00 |  | pH | 2-12 | - | - | - |  | n/a |  |  |  | +44 (0)1246 573 480 | Sales@otthydrometry.co.uk www.ott-hydrometry.co.uk
|  |  |  | Temperature | 0-45 | - | - | - | °C
|  |  |  | Turbidity | 0-500 | - | - | - | NTU
|  |  |  | Condictivity | 0-1 | 0-100 | - | - | mS/cm
Partech Instruments | Turbi-Tech 2000LS Sensor & 7200 Monitor Continuous Turbidity Monitor | Sira MC 06083 03 |  | Turbidity | 0-50 | 0-500 | - | - | FTU/NTU | n/a |  |  |  | +44(0)1726 879800 | sales@partech.co.uk www.partech.co.uk
Rosemount Analytical Inc (a division of Emerson Process Management) | Rosemount Analytical SoluComp II Model 1055 Analyser with Model 399, 399VP & 381+ pH sensors | Sira MC 070110 00 |  | pH units | 0-14 | - | - | - |  | n/a |  |  |  | +44 (0)870 240 1978 | uksales@emersonprocess.com www.emersonprocess.co.uk
Rosemount Analytical Inc (a division of Emerson Process Management) | Rosemount Analytical Model 54e Analyser with Model 399, 399VP & 381+ pH sensors | Sira MC 070111 00 |  | pH units | 0-14 | - | - | - |  | n/a |  |  |  | +44 (0)870 240 1978 | uksales@emersonprocess.com www.emersonprocess.co.uk
Rosemount Analytical Inc (a division of Emerson Process Management) | Rosemount Analytical Model 5081 Two- Wire Transmitter with Model 399, 399VP & 381+ pH sensors | Sira MC 070112 01 |  | pH units | 0-14 | - | - | - |  | n/a |  |  |  | +44 (0)870 240 1978 | uksales@emersonprocess.com www.emersonprocess.co.uk
Rosemount Analytical Inc (a division of Emerson Process Management) | Rosemount Analytical SoluComp Model XmtP Transmitter with Model 399, 399VP & 381+ pH sensors | Sira MC 070113 00 |  | pH units | 0-14 | - | - | - |  | n/a |  |  |  | +44 (0)870 240 1978 | uksales@emersonprocess.com www.emersonprocess.co.uk
Xylem Analytics Germany GmbH | IQ SENSOR NET 182, 182 XT & 182 XT-4 Controller Unit FDO 700 IQ Optical Dissolved Oxygen Probe / VisoTurb 700 IQ Turbidity Probe | Sira MC 150280 01 | 2016-07-01 | DO | 0-20 | 0-200 | - | - | mg/L % saturation | n/a |  |  |  | +44(0)1462 673581 | www.xylemanalytics.co.uk
|  |  |  | Turbidity | 0-100 | 0-500 | - | - | NTU
Xylem Analytics Germany GmbH | IQ SENSOR NET 2020XT, 2020XT-H3 & 2020XT-H3-C6 Controller Unit FDO 700 IQ Optical Dissolved Oxygen Probe / VisoTurb 700 IQ Turbidity Probe | Sira MC 150281 01 | 2016-07-01 | DO | 0-20 | 0-200 | - | - | mg/L % saturation | n/a |  |  |  | +44(0)1462 673581 | www.xylemanalytics.co.uk
|  |  |  | Turbidity | 0-100 | 0-500 | - | - | NTU
Xylem Analytics Germany GmbH | IQ SENSOR NET 181, Controller Unit FDO 700 IQ Optical Dissolved Oxygen Probe / VisoTurb 700 IQ Turbidity Probe | Sira MC 150286 01 | 2016-07-01 | DO | 0-20 | 0-200 | - | - | mg/L % saturation | n/a |  |  |  | +44(0)1462 673581 | www.xylemanalytics.co.uk
|  |  |  | Turbidity | 0-100 | 0-500 | - | - | NTU
YSI Inc. | 6600, 6600V2 and 6600EDS Multiparameter Sonde with 6500 Environmental process Monitor | Sira MC 080132 03 |  | DO | 0-200 | - | - | - | % saturation | n/a |  |  |  | +44(0)1462 673 581 | www.ysihydrodata.com
|  |  |  | pH | 2-12 | - | - | -
|  |  |  | Turbidity | 0-500 | - | - | - | NTU
YSI Inc. | 6820, 6820V2, 6920 and 6920V2 Multiparameter Sonde with 6500 Environmental process Monitor | Sira MC 080133 03 |  | DO | 0-200 | - | - | - | % saturation | n/a |  |  |  | +44(0)1462 673 581 | www.ysihydrodata.com
|  |  |  | pH | 2-12 | - | - | -
|  |  |  | Turbidity | 0-500 | - | - | - | NTU
YSI Inc. | 600XL, 600XLV2, 600XLM, 600XLMV2 and 600OMS Multiparameter Sonde with 6500 Environmental process Monitor | Sira MC 080134 03 |  | DO | 0-200 | - | - | - | % saturation | n/a |  |  |  | +44(0)1462 673 581 | www.ysihydrodata.com
|  |  |  | pH | 2-12 | - | - | -
|  |  |  | Turbidity | 0-500 | - | - | - | NTU