## 19. Expired CEMS
Certificate Holder | Product(Model) | Certificate No. | Date of issue | Certified Parameter(s) | Certified Range | Certified Range | Certified Range | Certified Range | Certified Range | Certified Range | Units | Class | Standard(s)* | Version | Tel. no. | UK Sales tel. no. | Email address/Website
ABB Automation Products | AO2000-Multi-FID14 | Sira MC 030015 07 |  | TOC | 0-15 | - | - | - | - | - | mg C/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | +49 697930 4901 | +44 (0)1453 826661
ABB Automation Products | Advance CEMAS FTIR – NT (ACF-NT) | Sira MC 030016 09 | 2018-05-19 | CO | 0-75 | 0-300 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | +49 697930 4901 | +44 (0)1453 826661
|  |  |  | NO | 0-200 | 0-400 | - | - | - | - | mg/m3 | n/a
|  |  |  | SO2 | 0-75 | 0-300 | - | - | - | - | mg/m3 | n/a
|  |  |  | HCL | 0-15 | - | - | - | - | - | mg/m3 | n/a
|  |  |  | NH3 | 0-15 | - | - | - | - | - | mg/m3 | n/a
|  |  |  | H2O | 0-40 | - | - | - | - | - | Vol.-% | n/a
|  |  |  | HF | 0-5 | 0-10 | - | - | - | - |  | n/a
|  |  |  | O2 | 0-25 | 0-12 | 0-6 |  |  |  | Vol.-% | n/a
|  |  |  | TOC | 0-15 | - | - | - | - | - | mg/m3 | n/a
ABB Automation Products | AO2000-Limas11 UV | Sira MC 030017 12 | 2018-04-19 | SO2 | 0-75 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | +49 697930 4901 | +44 (0)1453 826661
|  |  |  | NO | 0-33.5 | 0-200 | - | - | - | - | mg/m3 | n/a
|  |  |  | NOX | 0-50 | 0-300 | 0-50 | 0-300 | 0-125 | - | mg/m3 | n/a
|  |  |  | O2 | 0-10 | 0-25 | - | - | - | - | Vol.-% | n/a
|  |  |  | (NOx expressed as NO3) |  | - | - | - | - | - | mg/m3 | n/a
ABB Automation Products | AO2000-Uras14 | Sira MC 030018 02 | 2008-09-30 | SO2 | 0-75 | - | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | +49 697930 4901 | +44 (0)1453 826661
|  |  |  | NO | 0-200 | - | - | - | - | - | mg/m3 | n/a
|  |  |  | NOX | 0-300 | - | - | - | - | - | mg/m3 | n/a
|  |  |  | CO | 0-75 | - | - | - | - | - | mg/m3 | n/a
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-% | n/a
|  |  |  | (NOx expressed as NO2) |  | - | - | - | - | - |  | n/a
ABB Ltd | ZFG2/ZDT | Sira MC 990001 03 | 2009-09-05 | O2 | 0-25 | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | 2.1, April 2003 |  | +44 (0)1453 826661
Babcock & Wilcox Company (Formally GE Energy Services) | Babcock & Wilcox Model 2008-1 CEMS (EN 15267-3 Standard) & Babcock & Wilcox Stack Flow Monitor Model 110 | Sira MC 090160 03 | 2014-10-19 | CO | 0-25 | (0-31) | 0-1500 | (0-1875) | - | - | ppm (mg/m3) | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | 001-215-996-9200
|  |  |  | NO/NOX | 0-20 | (0-27) | 0-500 | (0-670) | - | - | ppm (mg/m3)
|  |  |  | SO2 | 0-100 | (0-286) | 0-300 | (0-858) | - | - | ppm (mg/m3)
|  |  |  | CO2 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | O2 (dry) | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | FlowTOC | 0-40 | (0-12) | - | - | - | - | ft/s (m/s)
Codel International Ltd | G-CEM 4000 In-situ multigas analyser | Sira MC 070098 05 | 2012-01-31 | NO | 0-134 | (0-100) | 0-1340 | (0-1000) | - | - | mg/m3 (ppm) | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1629 814351
|  |  |  | NO2 | 0-205 | (0-100) | - | - | - | - | mg/m3 (ppm)
|  |  |  | CO2 | 0-125 | (0-100) | 0-1250 | (0-1000) | - | - | mg/m3 (ppm)
|  |  |  | SO2 | 0-286 | (0-100) | 0-2860 | (0-1000) | - | - | mg/m3 (ppm)
|  |  |  | H2O | 0-30 | - | - | - | - | - | Vol.-%
Codel International Ltd | G-CEM 4100 Extractive multigas analyser | Sira MC 070116 04 | 2012-10-03 | NO | 0-134 | (0-100) | 0-1340 | (0-1000) | - | - | mg/m3 (ppm) | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1629 814351
|  |  |  | NO2 | 0-82 | (0-40) | - | - | - | - | mg/m3 (ppm)
|  |  |  | CO2 | 0-125 | (0-100) | 0-1250 | (0-1000) | - | - | mg/m3 (ppm)
|  |  |  | SO2 | 0-286 | (0-100) | 0-2860 | (0-1000) | - | - | mg/m3 (ppm)
|  |  |  | H2O | 0-30 | - | - | - | - | - | Vol.-%
Codel International Ltd | Model 3000 | Sira MC 990003 00 | 2004-09-05 | CO | 0-200 | - | - | - | - | - | ppm.m | n/a | MCERTS | 1, November 1998 |  | +44 (0)1629 814351
|  |  |  | SO4 | 0-400 | - | - | - | - | - | ppm.m
|  |  |  | NO | 0-450 | - | - | - | - | - | ppm.m
|  |  |  | HCL | 0-100 | - | - | - | - | - | ppm.m
Codel International Ltd | MonoGard/MultiGard | Sira MC 990007 00 | 2004-09-05 | Particulates | 0-30 | - | - | - | - | - | mg/m3 | n/a | MCERTS | 1, November 1998 |  | +44 (0)1629 814351
Codel International Ltd | MonoGard and MultiGard Particulate Monitoring System For a range of 0 to 150 mgm-3 | Sira MC 990008 00 | 2004-09-05 | Particulate Concentration | 0-150 | - | - | - | - | - | mg/m3 | n/a | MCERTS | 1, November 1998 |  | +44 (0)1629 814351
Dr. Sigrist AG Sigrist Photometer AG | Dr. Sigrist AG Sigrist Photometer AG | Sira MC 060081 04 | 2011-07-09 | Dust Concentration | 0-0.05, 0-0.1, 0.0.3, 0.1, 0- 10 | - | - | - | - | - | mg/m3 PLA | n/a | MCERTS | 2.1, April 2003 | 01905 450 500 |  | www.photometer.com
DURAG GmbH | D-FL 200 Flow Monitor | Sira MC 060072 01 | 2011-09-28 | Gas Velocity | 0-16, 0-30 | - | - | - | - | - | m/s | n/a | MCERTS | 2.1, April 2003 | +49 (0)40554218-0
DURAG GmbH | D-R 290 Opacity and Dust Concentration Monitor with measuring head D-R 290 (-150) M | Sira MC 060073 04 | 2016-06-15 | Dust (optical transmission) 0 to 15 mg/m3≡0-0.1 Abs. | 0-0.2 | 0-0.5 | 0.1.6 | 0-100% Opacity | - | - | Abs. | n/a | MCERTS | 3.3, January 2011 | +49 (0)40554218-0
DURAG GmbH | DR 300-40 Dust Concentration Monitor | Sira MC 060074 02 | 2016-06-15 | Particulate Concentration | 0-3 | 0-15 | 0-34 | 0-77 | - | - | mg/m3 | n/a | MCERTS | 3.3, January 2011 | +49 (0)40554218-0
DURAG GmbH | HM1400 TR Mercury analyser | Sira MC 060076 00 | 2016-06-15 | Total gaseous mercury | 0-45 | 0-90 | - | - | - | - | µg/m3 | n/a | MCERTS | 2.1, April 2003 | +49 (0)40554218-0
DURAG GmbH | D-R 800 Dust Concentration Monitor | Sira MC 080123 02 | 2018-02-24 | Particulate Concentration | 0-15 | 0-100%T (Ref) | - | - | - | - | mg/m3 | n/a | MCERTS | 3.4, July 2012 | +49 (0)40554218-0
DURAG GmbH | DRX 250 Dust Concentration and Flow Monitor | Sira MC 060075 01 | 2011-09-28 | Dust | 0-15 | 0-30 | - | - | - | - | mg/m3 | n/a | MCERTS | 3.4, July 2012 | +49 (0)40554218-0
|  |  |  | Velocity | 0-30 |  | - | - | - | - | m/s | n/a
DURAG GmbH | D-RX 250 Measuring System | Sira MC 150258 01 | 2015-04-09 | Dus | 0-15 |  | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | +49 0405542180
|  |  |  | Velocity | 0-30 |  | - | - | - | - | m/s | n/a
Eco Physics AG | Eco Physics CLD 82Mh & 822Mh chemiluminscence NO/NOx analyser | Sira MC 090139 03 | 2019-08-30 | NO/NOX | 0-90 | 0-200 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +41 552 202 222 | 01992 534643
Emerson Process Management Manufacturing GmbH & Co.OHG | MLT2 multi-gas analyser | Sira MC 050052 02 | 2010-02-03 | CO | 0-75 |  | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | +49 (6055) 884230 | 01243 845226
|  |  |  | SO2 | 0-75 |  | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-50 |  | - | - | - | - | mg/m3
|  |  |  | NO | 0-200 |  | - | - | - | - | mg/m3
|  |  |  | O2 | 0-10 | 0-25 | - | - | - | - | Vol.-%
Emerson Process Management Manufacturing GmbH & Co.OHG | MLT1 multi-gas analyser | Sira MC 050051 01 | 2010-02-03 | SO2 | 0-400 |  | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | +49 (6055) 884230 | 01243 845226
|  |  |  | NO | 0-335 |  | - | - | - | - | mg/m3
|  |  |  | O2 | 0-25 |  | - | - | - | - | Vol.-%
Emerson Process Management Manufacturing GmbH & Co.OHG | MLT3/4 multi-gas analyser | Sira MC 050053 02 | 2010-02-03 | CO | 0-75 |  | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | +49 (6055) 884230 | 01243 845226
|  |  |  | SO2 | 0-75 |  | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-50 |  | - | - | - | - | mg/m3
|  |  |  | NO | 0-200 |  | - | - | - | - | mg/m3
|  |  |  | O2 | 0-10 | 0-25 | - | - | - | - | Vol.-%
Emerson Process Management Manufacturing GmbH & Co.OHG | TFID Thermo Flame Ionisation Detector | Sira MC 050054 02 | 2010-02-03 | TOC | 0-15 | 0-30 | - | - | - | - | mgC/m3 | n/a | MCERTS | 2.1, April 2003 | +49 (6055) 884230 | 01243 845226
Emerson Process Management Manufacturing GmbH & Co.OHG | CLD NO/NOx multigas analyser | Sira MC 050055 01 | 2010-02-03 | NO | 0-134 |  | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | +49 (6055) 884230 | 01243 845226
|  |  |  | NOX | 0-205 |  | - | - | - | - | mg/m3
Emerson Process Management Rosemount analytical, Inc. | X-STREAM O2 Combustion Flue Gas Transmitter With XI Interface | Sira MC 090156 00 | 2014-09-07 | O2 | 0-25 |  | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | 3.1, July 2008 |  | +44(0)870 240 1978
Enotec GmbH | OXITEC 5000/ SME 5 Oxygen Analyser | Sira MC 050063 00 | 2010-10-05 | O2 | 0-6 | 0-12 | - | - | - | - | Vol.-% | n/a | MCERTS | 2.1, April 2003 | +49 (0) 2264 45780 | +44 (0) 870 350 0102
ETR-Unidata (Now in Liquidation) | ZETA 5000 Particulate Monitor | Sira MC 080128 01 | 2012-01-19 | Particulates | 0-15 |  | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)845 053 0909
Fer Strumenti Srl | E705 AMS CEMS | Sira MC 160302 00 | 2016-07-13 | O2 | 0-25 | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | 3.5 June 2016 | +39 0362 231203 |  | www.fer-strumenti.com
Goyen Controls Co Pty Ltd | EMS 6 | Sira MC 000009 03 | 2010-06-21 | Particulates | 0-30 |  | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | +61 (0)2 979 20201
HORIBA Europe GmbH | PG 250 SRM Portable Gas Analyser | Sira MC 110186 03 | 2016-03-03 | CO | 0-75 |  | - | - | - | - | mg/m3 | n/a | MCERTS | 3.4, July 2012 |  | +44 (0)1604 542500
|  |  |  | NOX | 0-130 as NO | 0-200 as NO2 | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-460 |  | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-20 |  | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 |  | - | - | - | - | Vol.-%
HORIBA Europe GmbH | PG-250 Portable Gas Analyser (Pre-conditioner PS200) | Sira MC 050056 04 |  | NO | 0-95 |  | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1604 542500
|  |  |  | NO/NOX | 0-125 |  | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-460 |  | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-20 |  | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 |  | - | - | - | - | Vol.-%
Kittiwake Procal Ltd | Procal 2000 Series Continuous Emission Monitor with Procal 1000 Control Unit | Sira MC 050060 11 | 2018-01-18 | CO | 0-150 | 0-3500 | - | - | - | - | ppm | n/a | MCERTS | 3.4, July 2012 |  | +44 (0)1733 232495
|  |  |  | SO2 | 0-150 | 0-1500 | - | - | - | - | ppm
|  |  |  | NO2 | 0-200 | 0-5000 | - | - | - | - | ppm
|  |  |  | NO | 0-240 | 0-1500 | - | - | - | - | ppm
|  |  |  | N2O | 0-300 | 0-5000 | - | - | - | - | ppm
|  |  |  | CO2 | 0-15 | 0-25 | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-30 |  | - | - | - | - | Vol.-%
Kittiwake Procal Ltd | Procal 2000 Series Continuous Emission Monitor with ACU Mk3 Control Unit | Sira MC 990006 13 | 2018-01-18 | CO | 0-150 | 0-3500 | - | - | - | - | ppm | n/a | MCERTS | 3.4, July 2012 |  | +44 (0)1733 232495
|  |  |  | SO2 | 0-150 | 0-1500 | - | - | - | - | ppm
|  |  |  | NO2 | 0-200 | 0-5000 | - | - | - | - | ppm
|  |  |  | NO | 0-240 | 0-1500 | - | - | - | - | ppm
|  |  |  | N2O | 0-300 | 0-5000 | - | - | - | - | ppm
|  |  |  | CO2 | 0-15 | 0-25 | - | - | - | - | ppm
|  |  |  | H2O | 0-30 |  | - | - | - | - | Vol.-%
Land Instruments International Ltd | FGA950 Flue gas analyser | Sira MC 040020 02 | 2014-02-15 | NO | 0-200 | 0-150 | - | - | - | - | mg/Nm3, ppm | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1246 417691
|  |  |  | NO2 | 0-2500 | 0-2000 | - | - | - | - | mg/Nm3, ppm
|  |  |  | CO | 0-75 | 0-60 | - | 0-4000 | - | - | mg/Nm3, ppm
|  |  |  | O2 | 0-12 | 0-25 | - | - | - | - | Vol.-%
Land Instruments International Ltd | FGA940E Flue gas analyser | Sira MC 040021 02 | 2014-02-15 | NO | 0-200 | 0-150 | - | - | - | - | mg/Nm3, ppm | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1246 417691
|  |  |  | NO2 | 0-2500 | 0-2000 | - | - | - | - | mg/Nm3, ppm
|  |  |  | O2 | 0-12 | 0-25 | - | - | - | - | Vol.-%
Land Instruments International Ltd | FGA940 Flue gas analyser | Sira MC 040022 02 | 2014-02-15 | NO | 0-200 | 0-150 | - | - | - | - | mg/Nm3, ppm | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1246 417691
|  |  |  | NO2 | 0-2500 | 0-2000 | - | - | - | - | mg/Nm3, ppm
|  |  |  | O2 | 0-12 | 0-25 | - | - | - | - | Vol.-%
Land Instruments International Ltd | FGA930E Flue gas analyser | Sira MC 040023 02 | 2014-02-15 | CO | 0-75 | 0-60 | - | 0-4000 | - | - | mg/Nm3, ppm | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1246 417691
|  |  |  | O2 | 0-12 | 0-25 | - | - | - | - | Vol.-%
Land Instruments International Ltd | FGA930 Flue gas analyser | Sira MC 040024 02 | 2014-02-15 | CO | 0-75 | 0-60 | - | 0-4000 | - | - | mg/Nm3, ppm | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1246 417691
|  |  |  | O2 | 0-12 | 0-25 | - | - | - | - | Vol.-%
Land Instruments International Ltd | FGA900E Flue gas analyser | Sira MC 040025 02 | 2014-02-15 | CO | 0-75 | 0-60 | - | 0-4000 | - | - | mg/Nm3, ppm | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1246 417691
Land Instruments International Ltd | FGA900 Flue gas analyser | Sira MC 040026 02 | 2014-02-15 | CO | 0-75 | 0-60 | - | 0-4000 | - | - | mg/Nm3, ppm | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1246 417691
Land Instruments International Ltd | FGAII Flue gas analyser & ChillerProbe | Sira MC 040027 05 | 2014-02-15 | SO2 | 0-75 |  | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 2.1, April 2003 |  | +44 (0)1246 417691
|  |  |  | CO | 0-75 | 0-150 | - | - | - | - | mg/m3
|  |  |  | NO | 0-200 | 0-1500 | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-50 |  | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-20 |  | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-10 | 0-25 | - | - | - | - | Vol.-%
Land Instruments International Ltd | 4500 MKII+ Dust Monitor | Sira MC 040028 01 | 2009-02-17 | Optical Density (Extinction) | 0-0.2 | 0-0.5 | - | - | - | - | Ext. | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1246 417691
Land Instruments International Ltd | 4500 Premier Dust monitor | Sira MC 040029 01 | 2009-06-30 | Optical Density (extinction) | 0-0.1 | 0-3 | - | - | - | - | Ext. | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1246 417691
|  |  |  | Opacity | 0-10 | 0-100 | - | - | - | - | %
|  |  |  | Dust Concentration | 0-15 | 0-3000 | - | - | - | - | mg/m3
Land Instruments International Ltd | g1200 Zirconia Oxygen Analyser g1210 Zirconia Oxygen Probe & g1229 Control Unit | Sira MC 060085 00 | 2011-11-13 | O2 | 0-25 |  | - | - | - | - | Vol.-% | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1246 417691
M&C TechGroup Gentics GmbH | IMR 7500 CEMS | Sira MC 160291 01 | 2018-05-09 | CO | 0-75 |  | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | +49 (0) 7132 96 06 0 |  | www.mc-gentics.com
|  |  |  | NO | 0-200 |  | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-100 |  | - | - | - | - | mg/m3
|  |  |  | O2 | 0-21 |  | - | - | - | - | Vol.-%
NEO Monitors AS | LaserGas Monitor HCl | Sira MC 060086 00 | 2011-11-19 | HCL | 0-15 | 0-90 | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | +47 67 97 47 00 |  | www.neomonitors.com
NEO Monitors AS | LaserGas II Monitor | Sira MC 100162 01 | 2015-01-12 | NH3 | 0-10 | 0-15 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.1, July 2008 | +47 67 97 47 00 |  | www.neomonitors.com
|  |  |  | H2O | 0-30 | 0-50 | - | - | - | - | Vol.-%
PCME | Model DT990 System Particulate Monitor & Model 990 stainless steel sensor & insulated sensor | Sira MC 050049 03 | 2010-03-23 | Particulates | 0-30 | - | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1480 468200 | www.neomonitors.com
PCME | DT280/780 Dust Monitor with standard & insulated sensor | Sira MC 990004 03 | 2009-09-05 | Particulates | 0-30 | - | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1480 468200
PCME | SC620/680 | Sira MC 990005 02 | 2010-02-21 | Particulates | 0-150 | - | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1480 468200
Protea Ltd | ProtIR 204M Mobile FTIR multigas analyser | Sira MC 150282 02 | 2018-12-20 | NO | 0-200 | - | - | - | - | - | mg/m3 | n/a | MCERTS | 3.4, July 2012 |  | +44 (0)1270 872 000 | www.protea.ltd.uk sales@protea.ltd.uk
|  |  |  | CO | 0-75 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-20.9 | - | - | - | - | - | Vol.-%
|  |  |  | HCL | 0-15 | - | - | - | - | - | mg/m3
|  |  |  | H2O | 0-40 | - | - | - | - | - | Vol.-%
|  |  |  | NH2 | 0-15 | - | - | - | - | - | mg/m3
Servomex Group Ltd | Servomex 2700 Oxygen analyser | Sira MC 070100 00 | 2012-02-11 | O2 | 0-6 | 0-12 | 0-25 | - | - | - | Vol.-% | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1892 652181
Servomex Group Ltd | SERVOTOUGH LaserSP Model 2930 | Sira MC 120205 00 | 2018-02-12 | NH3 | 0-10 | 0-15 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 |  | +44 (0)1892 652181
|  |  |  | H2O | 0-40 | 0-30 | 0-50 | - | - | - | Vol.-%
Servomex Group Ltd | Xendos 2510 GFC | Sira MC 990002 03 | 2009-09-05 | HCL | 0-100 | - | - | - | - | - | ppm | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1892 652181
|  |  |  | N2O | 0-3000 | - | - | - | - | - | ppm
SICK AG | Model 3006 TOC FID Analyser | Sira MC 040036 06 | 2019-07-13 | TOC | 0-15 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | 0049 76414690 | 01727 831121
SICK AG | EuroFID TOC FID Analyser | Sira MC 040046 05 | 2019-07-13 | TOC | 0-15 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | 0049 76414690 | 01727 831121
SICK AG | DUSTHUNTER SF100 | Sira MC 090147 01 | 2019-08-03 | Dust | 0-50 | 0-5 | 0-20 | 0-100 | 0-200 | - | SE | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | 0049 76414690 | 01727 831121
SICK MAIHAK GmbH | S700 Modular Gas Analyser (Module UNOR, MULTOR, OXOR-P & OXOR-E) | Sira MC 040037 03 | 2009-07-13 | UNOR CO | 0-100 | - | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | 0049 76414690 | 01727 831121
|  |  |  | UNOR NO | 0-100 | - | - | - | - | - | mg/m3
|  |  |  | UNOR SO2 | 0-100 | - | - | - | - | - | mg/m3
|  |  |  | MULTOR CO | 0-250 | - | - | - | - | - | mg/m3
|  |  |  | MULTOR NO | 0-250 | - | - | - | - | - | mg/m3
|  |  |  | MULTOR SO2 | 0-250 | - | - | - | - | - | mg/m3
|  |  |  | OXOR-P & OXOR-E O2 | 0-25 Vol.-% | - | - | - | - | - | Vol.-%
SICK MAIHAK GmbH | GM31 In-situ Multi-ComponentAnalyser Model GM31-1 (SO2), GM31-2 (SO2, NO), GM31-4 (NO) | Sira MC 040038 03 | 2009-08-01 | SO2 | 0-75 | - | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | 0049 76414690 | 01727 831121
|  |  |  | NO | 0-130 | - | - | - | - | - | mg/m3
SICK MAIHAK GmbH | Nimburger Street 11 79276 Reute Germany | Sira MC 040039 01 | 2009-07-13 | Particulate Concentration | 0-15 | 0-50 | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | 0049 76414690 | 01727 831121
SICK MAIHAK GmbH | FW100 Series Dust Concentration Monitor Model FW101 & FW102 | Sira MC 040041 02 | 2009-07-13 | Particulate Concentration | 0-15 | - | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | 0049 76414690 | 01727 831121
SICK MAIHAK GmbH | OMD 41 Opacity & Dust Concentration Monitor (OMD 41-02 & OMD 41-03 versions) | Sira MC 040042 01 | 2009-08-09 | OMD41-03 | 0-0.1 | - | - | - | - | - | Optical Density (extinction) | n/a | MCERTS | 2.1, April 2003 | 0049 76414690 | 01727 831121
|  |  |  | OMD41-02 | 0-0.3 | - | - | - | - | -
SICK MAIHAK GmbH | RM 210 Dust Concentration Monitor | Sira MC 040043 01 | 2009-08-09 | Particulate Concentration | 0-5 | 0-15 | 0-150 | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | 0049 76414690 | 01727 831121
SICK MAIHAK GmbH | MERCEM Mercury Analyser | Sira MC 040047 01 | 2009-08-09 | Total gaseous mercury | 0-45 | 0-75 | 0-100 | - | - | - | µg/m3 | n/a | MCERTS | 2.1, April 2003 | 0049 76414690 | 01727 831121
SICK MAIHAK GmbH | RM 230 Dust Concentration Monitor | Sira MC 050050 01 | 2010-02-01 | Particulate Concentration | 0-5 | 0-75 | 0-150 | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | 0049 76414690 | 01727 831121
SICK MAIHAK GmbH | MCS100E CD MultiComponent Analyser | Sira MC 070099 02 | 04/02/2016 03/02/2012 | CO | 0-75 | - | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 | 0049 76414690 | 01727 831121
|  |  |  | NO | 0-200 | - | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-80 | - | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-20 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-21 | - | - | - | - | - | Vol.-%
Siemens Production | FIDAMAT 6 FID analyser | Sira MC 08/0120 01 | 2013-01-10 | TOC | 0-15 | - | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1905 450500
Signal Group Ltd | 3000HM Flame Ionisation Detector 3030 & 3010 Portable Flame Ionisation Detectors | Sira MC 060078 03 | 2011-04-11 | TOC | 0-15, 0-500 | - | - | - | - | - | mg/m3 | n/a | MCERTS | 2.1, April 2003 |  | +44 (0)1276 682841
Signal Group Ltd | EMIRAK Multi Gas Analyser NO/NOx (Hot Wet & Cold Dry), CO, O2 (Dry & Wet) & SO2 | Sira MC 090141 05 | 2014-03-16 | NO/NOx (wet & dry) CO SO2 O2 (wet & dry) | 0-50, 0-200 0-100, 0-1000 0-50, 0-425, 0-85, 0-425 0-25 Vol.-% | - | - | - | - | - | ppm | n/a | MCERTS | 3.1, July 2008 |  | +44 (0)1276 682841
Note on L58: Livia Varga: m/s3 a website-on