## 24. Expired CAMS
Certificate Holder | Product(Model) | Certificate No. | Date of issue | Certified Parameter(s) | Certified Range | Certified Range | Units | Class | Standard(s)* | Version | Tel. no. | UK Sales tel. no. | Email address/Website
ABB S.p.A. | Serinus 10 O3 Analyser | Sira MC 100172 03 | 2013-05-15 | O3 | 0-250 | - | ppb | n/a |  |  | +39 02 24148632 |  | monica.paco@it.abb.com
ABB S.p.A. | Serinus 30 CO Analyser | Sira MC 100173 03 | 2013-05-15 | CO | 0-100 | - | ppm | n/a |  |  | +39 02 24148632 |  | monica.paco@it.abb.com
ABB S.p.A. | Serinus 40 Nox Analyser | Sira MC 100174 03 | 2013-05-15 | NO | 0-1000 | - | ppb | n/a |  |  | +39 02 24148632 |  | monica.paco@it.abb.com
|  |  |  | NO2 | 0-260 | - | ppb
ABB S.p.A. | Serinus 50 SO2 Analyser | Sira MC 100175 03 | 2013-05-15 | SO2 | 0-400 | - | ppb | n/a |  |  | +39 02 24148632 |  | monica.paco@it.abb.com
Casella Monitor | Model 9830 & 2030 CO analyser | Sira MC 070102 09 | 2012-03-14 | CO | 0-100 | (0 to 86 µm/mol) | mg/m3 | n/a |  |  |  | +44(0)1234 844100 | www.casellameasurement.com
Casella Monitor | Model 9841 & 2041 NOx analyser | Sira MC 070103 08 | 2012-03-14 | NO | 0-1200 | (0 to 962 nmol/mol) | µg/m3 | n/a |  |  |  | +44(0)1234 844100 | www.casellameasurement.com
|  |  |  | NO2 | 0-500 | (0 to 261 nmol/mol) | µg/m3
Casella Monitor | Model 9850 & 2050 SO2 analyser | Sira MC 070104 07 | 2012-03-14 | SO2 | 0-1000 | (0 to 376 nmol/mol) | µg/m3 | n/a |  |  |  | +44(0)1234 844100 | www.casellameasurement.com
FAI Instruments S.r.l | SWAM 5a Dual Channel Monitor | Sira MC 090148 02 | 2014-07-21 | PM10 | 0-200 | - | µg/m3 | n/a |  |  | +39 069050248 |  | info@fai-instruments.it
|  |  |  | PM2.5 | 0-200 | - | µg/m3
Thermo Fisher Scientific | Model 5030 SHARP Particulate Monitor with PM10 & PM2.5 heads | Sira MC 070108 03 | 2012-05-20 | PM10 | 0-200 | - | µg/m3 | n/a |  |  |  | +44 (0) 1684 857530 UK Sales (Air Monitors Ltd) | enquire@airmonitors.co.uk www.airmonitors.co.uk www.thermo.com
|  |  |  | PM2.5 | 0-200 | - | µg/m3
Thermo Fisher Scientific | TEOM 1405-F PM2.5 FDMS | Sira MC 130209 01 | 2018-06-10 | PM2.5 | 0-1000 | - | µg/m3 | n/a |  |  |  | +44 (0) 1684 857530 UK Sales (Air Monitors Ltd) | enquire@airmonitors.co.uk www.airmonitors.co.uk www.thermo.com
Thermo Fisher Scientific | TEOM 1405-F PM10 FDMS | Sira MC 130210 01 | 2018-06-10 | PM10 | 0-1000 | - | µg/m3 | n/a |  |  |  | +44 (0) 1684 857530 UK Sales (Air Monitors Ltd) | enquire@airmonitors.co.uk www.airmonitors.co.uk www.thermo.com
Thermo Fisher Scientific | TEOM 1405-DF FDMS Dichotomous monitor for PM2.5 & PM10 | Sira MC 130211 01 | 2018-06-10 | PM2.5 | 0-1000 | - | µg/m3 | n/a |  |  |  | +44 (0) 1684 857530 UK Sales (Air Monitors Ltd) | enquire@airmonitors.co.uk www.airmonitors.co.uk www.thermo.com
|  |  |  | PM10 | 0-1000 | - | µg/m3