## 5. Current CEMS
Certificate Holder | Product(Model) | Certificate No. | Date of issue | Certified Parameter(s) | Certified Range | Certified Range | Certified Range | Certified Range | Certified Range | Certified Range | Units | Class | Standard(s)* | Version | Tel. no. | UK Sales tel. no. | Email address/Website
ABB Automation GmbH | AO2000 Series Multigas Analysers with SCC-K NO/NO2 converter Including: – Uras26 – Magnos206 – El. Sensor – Magnos28 | Sira MC 080121 15 | 2019-12-13 | CO | 0-75 | 0-4000 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +49 697930 4901 | +44 (0)1453 826661
|  |  |  | NO | 0-100 | 0-5000 | - | - | - | - | mg/m3
|  |  |  | NOX | 0-150 | 0-7500 | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0-8000 | - | - | - | - | mg/m3
|  |  |  | N2O | 0-100 | 0-6700 | - | - | - | - | mg/m3
|  |  |  | CO2 | 0- 20 | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0- 10 | 0-25 | - | - | - | - | Vol.-%
ABB Automation GmbH | EL3000 Series Multigas Analysers with SCC-K NO/NO2 converter Including: – Uras26 – Magnos206 – El. Sensor – Magnos28 | Sira MC 080122 15 | 2019-12-13 | CO | 0-150 | 0-4000 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +49 697930 4901 | +44 (0)1453 826661
|  |  |  | NO | 0-100 | 0-5000 | - | - | - | - | mg/m3
|  |  |  | NOX | 0-150 | 0-7500 | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-300 | 0-8000 | - | - | - | - | mg/m3
|  |  |  | N2O | 0-100 | 0-6700 | - | - | - | - | mg/m3
|  |  |  | CO2 | 0- 20 | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0- 10 | 0-25 | - | - | - | - | Vol.-%
ABB Automation GmbH | AO2000-Fidas24 | Sira MC 160292 04 | 2021-04-01 | TOC | 0-15 | 0-50 | 0-150 | 0-500 | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 697930 4901 | +44 (0)1453 826661
ABB Automation GmbH | AO2000-Limas21 UV | Sira MC 160293 03 | 2021-04-01 | NO | 0-25 | 0-200 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 697930 4901 | +44 (0)1453 826661
|  |  |  | NO2 | 0-50 | 0-500 | - | - | - | - | mg/m3
|  |  |  | SO2 | 0 -75 | 0-300 | - | - | - | - | mg/m3
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-%
ABB Automation GmbH | EL3000-Limas23 | Sira MC 160294 02 | 2021-04-01 | NO | 0-33.5 | 0-200 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +49 697930 4901 | +44 (0)1453 826661
|  |  |  | NO2 | 0-125 | 0-500 | - | - | - | - | mg/m3
|  |  |  | SO2 | 0 -75 | 0-300 | - | - | - | - | mg/m3
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-%
ABB Automation GmbH | EL3000-Fidas24 | Sira MC 160308 02 | 2021-07-14 | TOC | 0-15 | 0-50 | 0-150 | 0-500 | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +49 697930 4901 | +44 (0)1453 826661
ABB Automation GmbH | ACF5000 | Sira MC 160309 04 | 2021-03-12 | CO | 0-75 | 0-300 | 0-4000 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 697930 4901 | +44 (0)1453 826661
|  |  |  | NO | 0-150 | 0-400 | 0-2000 | - | - | - | mg/m3
|  |  |  | NO2 | 0-80 | 0-600 | 0-1000 | - | - | - | mg/m3
|  |  |  | N2O | 0-50 | 0-1000 | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0-300 | 0-5000 | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-90 | 0-2000 | - | - | - | mg/m3
|  |  |  | HF | 0-3 | 0-6 | 0-300 | - | - | - | mg/m3
|  |  |  | NH3 | 0-5 | 0-15 | 0-230 | - | - | - | mg/m3
|  |  |  | H2O | 0- 40 | - | - | - | - | - | Vol.-%
|  |  |  | CO2 | 0-30 | - | - | - | - | - | Vol.-%
|  |  |  | H2CO | 0-20 | - | - | - | - | - | mg/m3
|  |  |  | CH4 | 0-7.5 | 0-200 | - | - | - | - | mg/m3
|  |  |  | TOC | 0-15 | 0-30 | 0-300 | 0-500 | - | - | mg/m3
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-%
ABB Ltd | Endura AZ20 / AZ30 measuring systems | Sira MC 110191 03 | 2016-11-22 | O2 | 0-25 | 0-5 | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | 3.3, January 2011 |  | +44 (0)1453 826661
ABB Ltd | StackFlowMaster System | Sira MC 180339 01 | 2019-08-21 | Velocity | 2-25 | 2-35 | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1453 826661
Ametek Land | 4650-PM | Sira MC 200369 00 | 2020-12-22 | Particulate concentration | 0-7.5 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020
[5 empty] | 0-15 | - | - | - | - | - | mg/m3
[5 empty] | 0-100 | - | - | - | - | - | mg/m3
[5 empty] | 0-200 | - | - | - | - | - | mg/m3
AMETEK Process Instrument | Model 909, 910, 919, 920 Single and Multi Gas CEMS | Sira MC 100183 04 | 2021-02-26 | NO2 | 0-750 | 0-1500 | - | - | - | - | ppm | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | 403-235-8440 |  | Bob.Fiore@ametek.com Randy.Meads@ametek.com
|  |  |  | NO | 0-500 | 0-1000 | - | - | - | - | ppm
|  |  |  | SO2 | 0-200 | 0-1000 | - | - | - | - | ppm
AP2E | ProCeas LaserCEM | Sira MC 190347 02 | 2019-02-10 | CO | 0-75 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +33 (0)4 42 61 29 40 |  | info@ap2e.com
|  |  |  | NO | 0-78 | 0-150 | 0-2008 | - | - | - | mg/m3
|  |  |  | NH3 | 0-15 | 0-45 | 0-76 | - | - | - | mg/m3
|  |  |  | H2O | 0-30 | 0-40 | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-21 | - | - | - | - | - | Vol.-%
|  |  |  | SO2 | 0- 75 | 0-2858 | - | - | - | - | mg/m3
|  |  |  | HCL | 0- 15 | 0-98 | - | - | - | - | mg/m3
Auburn Systems, LLC | U3600-QAL1 | Sira MC 170330 00 | 2017-09-28 | Dust | 0-1000 | 0-10000 | 0 -100000 | - | - | - | pA | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | (978) 777-2460 |  | sales@auburnsys.com
Codel International Ltd | D-CEM2100 Dust Monitor | Sira MC 150283 01 | 2020-11-09 | Dust | 0-0.1 Ext.* | 0-0.3 Ext. | 0 - 1.0 Ext. | (*0 to 0.1 Ext. ≡ 0 to15 mg/m3 dust at 5m optical path length) | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 1629 814351
Codel International Ltd | V-CEM5100 Flow Monitor | Sira MC 150284 02 | 2020-11-09 | Velocity | 3 to 50 | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 1629 814351
Codel International Ltd | Codel GCEM 40 | Sira MC 160296 01 | 2021-08-11 | CO | 0-500 | 0-1000 | - | - | - | - | ppm | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 1629 814351
|  |  |  | NO | 0-500 | 0-1000 | - | - | - | - | ppm
|  |  |  | SO2 | 0-500 | 0-1000 | - | - | - | - | ppm
Dr. Födisch Umweltmesstechnik AG | MCA 04 Multi Component Analyser | Sira MC 070115 02 | 2017-12-13 | CO | 0-75 | 0-300 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | +49 34205 75540 |  | info@foedisch.de
|  |  |  | NO | 0-200 | 0-395 | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0- 300 | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-90 | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-30 | 0-75 | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-50 | 0-1000 | - | - | - | - | mg/m3
|  |  |  | N2O | 0-50 | 0-1000 | - | - | - | - | mg/m3
|  |  |  | H2O | 0- 40 | - | - | - | - | - | Vol.-%
|  |  |  | CO2 | 0-20 | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | - | - | mg/m3
Dr. Födisch Umweltmesstechnik AG | MCA 10 Multi Component Analyser | Sira MC 140256 06 | 2020-09-07 | CO | 0-75 | 0-300 | 0-5000 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +49 34205 75540 |  | info@foedisch.de
|  |  |  | NO | 0-80 | 0-200 | 0-400 | 0-3000 | - | - | mg/m3
|  |  |  | NO2 | 0-50 | 0-500 | - | - | - | - | mg/m3
|  |  |  | N2O | 0-50 | 0- 3000 | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0-300 | 0-2500 | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-90 | 0-5000 | - | - | - | mg/m3
|  |  |  | NH3 | 0-10 | 0-50 | 0-500 | - | - | - | mg/m3
|  |  |  | CH4 | 0-50 | 0-500 | - | - | - | - | mg/m3
|  |  |  | HF | 0- 20 | - | - | - | - | - | mg/m3
|  |  |  | TOC | 0-15 | 0-30 | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | 0-50 | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-40 | - | - | - | - | - | Vol.-%
Dr. Födisch Umweltmesstechnik AG | FMD 09 Flow Monitor | Sira MC 170329 00 | 2017-07-21 | Velocity | 2-30 | 2-60 | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | 3.5, June 2016 | +49 34205 75540 |  | info@foedisch.de
Dr. Födisch Umweltmesstechnik AG | MGA 12 HR | Sira MC 180342 01 | 2018-10-22 | CO | 0-125 | 0-1000 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +49 34205 75540 |  | info@foedisch.de
|  |  |  | NO | 0-300 | 0-1000 | - | - | - | - | mg/m3 | n/a
|  |  |  | SO2 | 0-200 | 0-1000 | - | - | - | - | mg/m3 | n/a
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-% | n/a
DURAG GmbH | D-FL 100 Flow Monitor | Sira MC 060071 03 | 2016-09-29 | Velocity | 3-30 | 3-50 | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | 3.4 July 2012 | +49 0405542180
DURAG GmbH | HM 1400 TRX Mercury Analyser | Sira MC 120193 07 | 2019-09-20 | Hg | 0-15 | 0-45 | 0-75 | - | - | - | µg/m3 | n/a | MCERTS | 4, July 2018 | +49 0405542180
DURAG GmbH | D-R 820F extractive dust monitor | Sira MC 120204 01 | 2017-12-04 | Particulate Concentration | 0-15 | 0-100 | - | - | - | - | mg/m3 | n/a | MCERTS | 3.4 July 2012 | +49 0405542180
DURAG GmbH | D-FL 220 Flow Monitor | Sira MC 140252 01 | 2019-07-12 | Velocity | 3 to 30 | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | 4, July 1218 | +49 0405542180
DURAG GmbH | D-R 320 particulate analyser | Sira MC 140253 01 | 2019-07-19 | Dust | 0- 7.5 | 0-500 SL | 0-1000 SL | 0-4000 SL | 0-20000 SL | 0-100 SL | mg/m3 | n/a | MCERTS | 4, July 1218 | +49 0405542180
DURAG GmbH | D-R 290 Opacity and Dust Concentration Monitor with measuring head D-R 290 M EC2 | Sira MC 150278 01 | 2020-09-15 | Dust (optical transmission) 0 to 15 mg/m3 ≡ 0 – 0.1 Abs. | 0-0.2 | 0-0.5 | 0-1.6 | 0-100% Opacity |  |  | mg/m3 | n/a | MCERTS | 4, July 1218 | +49 0405542180
DURAG GmbH | D-R 808 Dust Monitor | Sira MC 170324 00 | 2017-04-03 | Dust | 0- 7.5 | 0-500 SL | 0-1000 SL | 0-4000 SL | 0-20000 SL | 0-100 SL | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.5 June 2016 | +49 0405542180
Emerson Process Management Manufacturing GmbH & Co. OHG | X-Stream enhanced | Sira MC 200367 01 | 2021-08-11 | CO | 0-75 | 0-3000 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 (6055) 884230 | 01243 845226
|  |  |  | NOX | 0-150 | 0-2000 | - | - | - | - | mg/m3 | n/a
|  |  |  | SO2 | 0-150 | 0-2500 | - | - | - | - | mg/m3 | n/a
|  |  |  | CO2 | 0-25 | - | - | - | - | - | Vol.-% | n/a
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-% | n/a
Emerson Process Management Manufacturing GmbH & Co. OHG | NGA 2000 MLT3/4 measuring system | Sira MC 150257 02 | 2020-01-14 | CO | 0-75 | 0-2000 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +49 (6055) 884230 | 01243 845226
|  |  |  | SO2 | 0-120 | 0-2500 | - | - | - | - | mg/m3 | n/a
|  |  |  | NO | 0 -200 | 0-2000 | - | - | - | - | mg/m3 | n/a
|  |  |  | NO2 | 0-50 | 0-1500 | - | - | - | - | mg/m3 | n/a
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-% | n/a
Emerson Process Management Manufacturing GmbH & Co. OHG | NGA 2000 CLD measuring system | Sira MC 150262 01 | 2020-02-03 | NO | 0-134 | 0-669 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +49 (6055) 884230 | 01243 845226
|  |  |  | NO2 | 0-205 | 0-1026 | - | - | - | - | mg/m3 | n/a
ENOTEC GmbH | OXITEC 5000+ | Sira MC 170326 00 | 2017-06-01 | O2 | 0-25 | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | 3.5 June 2016 | +49 (0) 4171 6672 70 | +44 (844) 247 0102 | www.enotec.de
Envea | MIR9000 Multi-gas Analyser Type 2 SEC Probe & MIR9000 CLD option Type 2 SEC Probe MDS (Module Dryer System) | Sira MC 020010 12 | 2019-02-18 | SO2 | 0-75 | 0-200 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +33 (0)1392 23800 | +44 (0)151 666 8300 | www.cbiss.com
|  |  |  | CO | 0-75 | 0-500 | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | HCL | 0-15 | 0-100 | - | - | - | - | mg/m3
|  |  |  | NO | 0-100 | 0-500 | - | - | - | - | mg/m3
|  |  |  | N2O | 0-20 | 0-200 | - | - | - | - | mg/m3
|  |  |  | O2 | 0-10 | 0-25 | - | - | - | - | Vol.-%
|  |  |  | CH4 | 0-10 | 0-200 | - | - | - | - | mg/m3
|  |  |  | NO/NOX (CLD) | 0-20 | 0-2000 | - | - | - | - | mg/m3
|  |  |  | NO2 (CLD) | 0-20 | 0-2000 | - | - | - | - | mg/m3
Envea | MIR-IS Multi-gas analyser | Sira MC 040030 09 | 2019-02-18 | SO2 | 0-75 | 0-200 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +33 (0)1392 23800 | +44 (0)151 666 8300 | www.cbiss.com
|  |  |  | CO | 0-75 | 0-500 | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | - | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-100 | - | - | - | - | mg/m3
|  |  |  | NO | 0-100 | 0-500 | - | - | - | - | mg/m3
|  |  |  | N2O | 0-20 | 0-200 | - | - | - | - | mg/m3
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | CH4 | 0-10 | 0-200 | - | - | - | - | mg/m3
Envea | MIR-FT Multi-gas analyser | Sira MC 040031 11 | 2019-04-29 | CO | 0-75 | 0-300 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +33 (0)1392 23800 | +44 (0)151 666 8300 | www.cbiss.com
|  |  |  | SO2 | 0-75 | 0-500 | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-90 | - | - | - | - | mg/m3
|  |  |  | NO | 0-200 | 0-600 | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-200 | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-100 | - | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-15 | - | - | - | - | - | mg/m3
|  |  |  | CH4 | 0-15 | 0-50 | 0-150 | - | - | - | mg/m3
|  |  |  | CHOH | 0-20 | 0-30 | 0-90 | - | - | - | mg/m3
|  |  |  | HF | 0-3 | 0-10 | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-30 | - | - | - | - | - | Vol.-%
Envea | PCME QAL 991 Particulate Monitor and Sensor (Previously named DT-991) | Sira MC 050066 10 | 2020-09-23 | Particulates | 0-7.5 | 0-15 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +33 (0)1392 23800 | +44 (0)151 666 8300
Envea | Graphite 52M FID analyser | Sira MC 060082 10 | 2019-02-18 | TOC | 0-15 | 0-500 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +33 (0)1392 23800 | +44 (0)151 666 8300 | www.cbiss.com
Envea | PCME QAL 181 Particulate Analyser (previously LMS 181) including PCME QAL 181 SEN Sensor | Sira MC 090152 04 | 2020-10-02 | Particulates | 0-7.5 | 0-15 | 0-100 | 0-200 | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1480 468200
Envea | PCME STACKFLOW 400 | Sira MC 150273 05 | 2020-09-24 | Velocity | 0-30 | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1480 468200
Envea | PCME QAL 260 | Sira MC 160307 03 | 2021-07-14 | Dust | 0-15 | 0-200 SLU | 0-500 SLU | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1480 468200
Envea | PCME STACKFLOW | Sira MC 160315 02 | 2020-11-26 | Velocity | 2-30 | 2-50 | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1480 468200
Envea | PCME QAL 360 | Sira MC 160306 03 | 2021-07-14 | Dust | 0-75 | 0-10 SLU | 0-50 SLU | 0-100 SLU | 0-200 SLU | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1480 468200
Fer Strumenti Srl | ENOX II AMS CEMS | Sira MC 160301 05 | 2019-01-15 | NO | 0-200 | 0-2000 | - | - | - | - | ppm | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +39 0362 231203 |  | www.fer-strumenti.com
|  |  |  | NOX | 0-200 | - | - | - | - | - | ppm
|  |  |  | CO | 0 -156 | 0-2000 | - | - | - | - | ppm
|  |  |  | CO2 | 0-15 | - | - | - | - | - | Vol.-%
|  |  |  | SO2 | 0-1200 | - | - | - | - | - | ppm
Fer Strumenti Srl | E705 AMS CEMS | Sira MC 160302 00 | 2016-07-13 | O2 | 0-25 | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | 3.5 June 2016 | +39 0362 231203 |  | www.fer-strumenti.com
Fer Strumenti Srl | AMS CO-NOx with Enox 5 | Sira MC 210382 01 | 2021-04-19 | CO | 0-50 | 0-300 | *expressed as NO2, corresponds to 0-50 mg/m3 | *0-400 mg/m3 expressed as NO, respectively | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 | +39 0362 231203 |  | www.fer-strumenti.com
|  |  |  | NOX* | 0-76.7 | 0-613.3 |  |  | - | - | mg/m3
Fuji Electric Co Ltd | ZRE and ZRE/ZFK7 for CO, NO, SO2 and O2 | Sira MC 130224 03 | 2018-02-23 | CO | 0-125 | 0-1250 | - | - | - | - | mg/m3 | n/a | MCERTS | 3.4 July 2012 |  | +44 (0)1782 638491 (DRM Technic Ltd.)
|  |  |  | NO | 0-268 | 0-2680 | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-571 | 0-5710 | - | - | - | - | mg/m3
|  |  |  | O2 | 0-25 | 0-10 | - | - | - | - | Vol.-%
Gasmet Technologies OY | GASMET Multi-gas analyser CX4000 with Oxitec 500 E SME 5 Oxygen analyser, DX4000 & EN4000 Multi-gas analyser | Sira MC 030014 12 | 2020-09-07 | CO | 0-75 | 0-300 | 0-1500 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +358 (0)9 7590 0400 | +44 (0)1908 227722 | www.gasmet.fi
|  |  |  | NO | 0-150 | 0-200 | 0-600 | 0-2000 | - | - | mg/m3
|  |  |  | H2O | 0-30 | 0-40 | - | - | - | - | Vol.-%
|  |  |  | SO2 | 0-75 | 0-300 | 0-1500 | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-90 | - | - | - | - | mg/m3
|  |  |  | NH2 | 0-15 | 0-50 | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-200 | 0-500 | - | - | - | - | mg/m3
|  |  |  | N2O | 0-100 | 0-500 | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | HF | 0-3 | 0-10 | - | - | - | - | mg/m3
|  |  |  | CH4 | 0-15 | 0-50 | 0-150 | - | - | - | mg/m3
|  |  |  | CHOH | 0-20 | 0-30 | 0-90 | - | - | - | mg/m3
Gasmet Technologies OY | Gasmet Continuous Mercury Monitoring System (CMM) | Sira MC 170332 04 | 2020-09-07 | Hg | 0-5 | 0-10 | 0-45 | 0-100 | 0-1000 | - | µg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +358 (0)9 7590 0400 |  | www.gasmet.fi
Gasmet Technologies OY | CMM AutoQAL | Sira MC 200353 00 | 2020-06-11 | Hg | 0-5 | 0-10 | 0-45 | 0-100 | 0-1000 | - | µg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +358 (0)9 7590 0400 |  | www.gasmet.fi
HORIBA Europe GmbH | ENDA-5000 Series Stack Gas Analysis System | Sira MC 120212 02 | 2018-02-28 | CO | 0-50 | 0-500 | - | - | - | - | mg/m3 | n/a | MCERTS | 3.5, June 2016 |  | +44 (0)1604 542500
|  |  |  | NOX | 0-100 | 0-1000 | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0-750 | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-20 | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-%
Kurz Instruments Inc. | K-BAR 2000B Measuring System | Sira MC 150275 01 | 2020-12-14 | Velocity | 0-30 | - | - | - | - | - | m/s | n/a | MCERTS | Published 20 October 2020 | +1 831-646-5911
Land Instruments International Ltd | FGA950E, FGA950, FGA940E, FGA940, FGA930E, FGA930, FGA900E, & FGA900 Flue Gas analyser | Sira MC 040019 07 | 2019-02-21 | NO | 0-200 | 0-1500 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 |  | +44 (0)1246 417691
|  |  |  | CO | 0-150 | 0-2500 | - | - | - | - | mg/m3
|  |  |  | O2 | 0-12 | 0-25 | - | - | - | - | Vol.-%
Land Instruments International Ltd | 4500 MKIII Dust Monitor | Sira MC 150274 01 | 2020-10-20 | Dust | 0-0.2 | 0-0.1 | 0- 0.4 | 0-1.2 | - | - | Ext. | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1246 417691
McMenon Engineering Services Ltd | EmissionFlowGenie | Sira MC 130222 08 | 2020-10-29 | Velocity | 2-25 | 2-35 | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1946 830612
MIP Electornics Oy | LM3086 EPA and LM3086 SE | Sira MC 180335 00 | 2018-04-16 | Dust | 0-0.2 Ext* *0 - 52mg-m3 for a 5m path length | *0 - 52mg-m3 for a 5m path length | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | +358 10 3222 631
MKS Instruments Inc. | MGS300 Continuous Emissions Monitoring System | Sira MC 130234 02 | 2018-11-16 | CO | 0-75 | 0-1500 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | +1 978 645 5500 | +44 (0)1246 417691 (Waverton Analytics Ltd) | http://www.mksinst.com
|  |  |  | CH4 | 0-15 | 0-500 | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-200 | - | - | - | - | mg/m3
|  |  |  | N2O | 0-50 | 0-500 | - | - | - | - | mg/m3
|  |  |  | NO | 0-200 | 0-1500 | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-50 | 0-1000 | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0-2000 | - | - | - | - | mg/m3
|  |  |  | HF | 0-3 | 0-10 | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-10 | 0-75 | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-75 | - | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-40 | - | - | - | - | - | Vol.-%
NEO Monitors AS | LaserGas II Monitor | Sira MC 120206 01 | 2017-10-04 | HCL | 0-15 | 0-90 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.5, June 2016 | +47 67 97 47 00 |  | www.neomonitors.com
|  |  |  | H2O | 0-40 | 0-30 | - | - | - | - | Vol.-% | n/a
NEO Monitors AS | LaserGas II Monitor | Sira MC 140244 03 | 2019-03-25 | HF | 0-1 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +47 67 97 47 00 |  | www.neomonitors.com
NEO Monitors AS | LaserGas II Monitor | Sira MC 170328 00 | 2017-06-06 | NH3 | 0-10 | 0-15 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.5, June 2016 | +47 67 97 47 00 |  | www.neomonitors.com
|  |  |  | H2O | 0-40 | 0-30 | 0-50 | - | - | - | Vol.-%
Opsis AB | AR 602Z (UV) AR 650 (IR) Used either independently or in combination | Sira MC 020011 08 | 2021-03-15 | CO | 0-75 | - | - | - | - | - | mg/m3 | n/a | MCERTS | Published 20 October 2020 | +46 (0)4672 2500 |  | www.opsis.se www.ET.co.uk
|  |  |  | HCL | 0-15 | - | - | - | - | - | mg/m3
|  |  |  | H2O | 0-30 | - | - | - | - | - | Vol.-%
|  |  |  | HF | 0-5 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | - | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-20 | - | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-20 | - | - | - | - | - | mg/m3
|  |  |  | NO | 0-150 | - | - | - | - | - | mg/m3
|  |  |  | Formaldehyde | 0-20 | - | - | - | - | - | mg/m3
|  |  |  | Phenol | 0-20 | - | - | - | - | - | mg/m3
|  |  |  | H2O | 0-30 | - | - | - | - | - | mg/m3
Opsis AB | O2000 Oxygen analyser | Sira MC 020012 06 | 2021-03-15 | O2 | 0-25 | - | - | - | - | - | Vol.-% | n/a | MCERTS | Published 20 October 2020 | +46 (0)4672 2500 |  | www.opsis.se www.ET.co.uk
Opsis AB | AR 602Z/Hg | Sira MC 120201 01 | 2017-11-27 | Hg | 0-45 | 0-100 | - | - | - | - | µg/m3 | n/a | MCERTS | 3.4, July 2012 | +46 (0)4672 2500 |  | www.opsis.se www.ET.co.uk
Protea Ltd | P2000 Series Continuous Emission Monitor with Protea Control Unit | Sira MC 050060 15 | 2020-12-15 | CO | 0-150 | 0-3500 | - | - | - | - | mg/m3 | n/a | MCERTS | Published 20 October 2020 |  | +44 (0)1270 872 000 | sales@protea.ltd.uk www.protea.ltd.uk
|  |  |  | SO2 | 0-15 | 0-1500 | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-200 | 0-5000 | - | - | - | - | mg/m3
|  |  |  | NO | 0-240 | 0-1500 | - | - | - | - | mg/m3
|  |  |  | N2O | 0-300 | 0-5000 | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-15 | 0-25 | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-30 | - | - | - | - | - | ppm
Protea Ltd | AtmosFIR | Sira MC 190346 00 | 2019-04-24 | NO | 0-105 | 0-200 | - | - | - | - | mg/m3 | n/a | MCERTS | 4, July 2018 |  | +44 (0)1270 872 000 | sales@protea.ltd.uk www.protea.ltd.uk
|  |  |  | NO2 | 0-80 | 0-200 | - | - | - | - | mg/m3
|  |  |  | N2O | 0-50 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0-300 | - | - | - | - | mg/m3
|  |  |  | CO | 0-75 | 0-240 | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | - | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-15 | - | - | - | - | - | mg/m3
|  |  |  | CH4 | 0-15 | - | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-20 | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-21 | - | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-30 | - | - | - | - | - | Vol.-%
Protea Ltd | atmosFID TOC analyser | Sira MC 200363 00 | 2020-10-29 | TOC | 0-15 | 0-30 | 0-150 | 0-500 | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1270 872 000 | sales@protea.ltd.uk www.protea.ltd.uk
Rosemount, Inc. | Model 6888A Oxygen Analyser | Sira MC 140270 03 | 2019-12-16 | O2 | 0-25 | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44(0)870 240 1978
Rosemount, Inc. | Oxymitter 4000 Oxygen Analyser (with operator interface LOI) | Sira MC 070087 05 | 2017-09-27 | O2 | 0-25 | - | - | - | - | - | Vol.-% | n/a | MCERTS | 3.4, July 2012 |  | +44(0)870 240 1978
S.K.I Schlegel & Kremer Industrieautomation GmbH | AccuFlo QAL | Sira MC 120218 01 | 2018-03-29 | Velocity | 2 to 20 | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | 0049 2166623170 |  | www.ski-gmbh.com
Servomex Group Ltd | Servomex 4900 Multi gas analyser | Sira MC 030013 11 | 2018-03-06 | SO2 | 0-572 | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | 3.5, June 2016 |  | +44 (0)1892 652181
|  |  |  | NO | 0-268 | - | - | - | - | - | m/s
|  |  |  | CO | 0-75 | - | - | - | - | - | m/s
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-%
SICK AG | MCS 100 E HW Multi-Component Analyser | Sira MC 040044 06 | 2019-08-09 | SO2 | 0-75 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 01727 831121
|  |  |  | NO | 0-200 | - | - | - | - | - | mg/m3
|  |  |  | CO | 0-75 | - | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | - | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-20 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-21 | - | - | - | - | - | Vol.-%
|  |  |  | CO2 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-40 | - | - | - | - | - | Vol.-%
SICK AG | MCS 100 E PD Multi-Component Analyser | Sira MC 040045 07 | 2019-08-09 | SO2 | 0-10 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 01727 831121
|  |  |  | NO | 0-50 | - | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-80 | - | - | - | - | - | mg/m3
|  |  |  | CO | 0-50 | - | - | - | - | - | mg/m3
|  |  |  | HCL | 0-10 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-21 | - | - | - | - | - | Vol.-%
|  |  |  | CO2 | 0-25 | - | - | - | - | - | Vol.-%
SICK AG | SIDOR Multi Gas Analyser with Modules OXOR-E & OXOR-P | Sira MC 070107 05 | 2017-04-04 | CO | 0-75 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | 0049 76414690 | 01727 831121
|  |  |  | NO | 0-125 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-150 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-25 | 0-10 | - | - | - | - | Vol.-%
SICK AG | DUSTHUNTER SP100 | Sira MC 090143 04 | 2019-04-23 | Dust | 0-15 | 0-5 | 0-20 | 0-50 | 0-100 | 0-200 | SE | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 01727 831121
SICK AG | DUSTHUNTER SB100 | Sira MC 090144 04 | 2019-04-23 | Dust | 0-100 | 0-15 | 0-50 | 0-200 | - | - | SE | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 01727 831121
SICK AG | DUSTHUNTER T200 | Sira MC 090145 03 | 2019-04-23 | Dust | 0-0.1 | 0-0.05 | 0-0.2 | 0-0.5 | 0-1.0 | - | Ext. | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 01727 831121
SICK AG | GM32 In-situ Multi-Component Analyser (Cross Duct Version) | Sira MC 090146 04 | 2019-04-23 | Measuring path length 1.86m: NO | 0-70 | 0-700 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 01727 831121
|  |  |  | Measuring path length 1.86m: SO2 | 0-75 | 0-1000 | - | - | - | - | mg/m3
|  |  |  | Measuring path length 1.00m: NO | 0-130.2 | 0-1302 | - | - | - | - | mg/m3
|  |  |  | Measuring path length 1.00m: SO2 | 0-139.5 | 0-1860 | - | - | - | - | mg/m3
SICK AG | DUSTHUNTER C200 | Sira MC 090150 02 | 2019-08-16 | Dust | 0-0.1 | 0-0.05 | 0-0.2 | 0-0.5 | 0-1.0 | 0-50 | Ext. | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | 0049 76414690 | 01727 831121
[5 empty] | 0-5 | 0-20 | 0-100 | 0-200 | - | - | SE
SICK AG | DUSTHUNTER T100 | Sira MC 090151 02 | 2019-08-16 | Dust | 0-0.1 | 0-0.05 | 0-0.2 | 0-0.5 | 0-1.0 | - | Ext. | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | 0049 76414690 | 01727 831121
SICK AG | GM32 In-situ Gas Analyser (GMP measuring probe Version) | Sira MC 100163 03 | 2020-01-27 | Measuring path length 1.25m: NO | 0-70 | 0-700 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 01727 831121
|  |  |  | Measuring path length 1.25m: SO2 | 0-75 | 0-1000 | - | - | - | - | mg/m3
|  |  |  | Measuring path length 1.00m: NO | 0-87.5 | 0-875 | - | - | - | - | mg/m3
|  |  |  | Measuring path length 1.00m: SO2 | 0-93.8 | 0-1250 | - | - | - | - | mg/m3
SICK AG | MAC GMS800 Multi-Component Analyser | Sira MC 100182 06 | 2020-12-21 | CO (UNOR, MULTOR) | 0-75 | 0-200 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020p | 0049 76414690 | 01727 831121
|  |  |  | NO (UNOR, MULTOR) | 0-100 | 0-250 | 0-50 | - | - | - | mg/m3
|  |  |  | NO2 (UNOR, MULTOR) | 0-50 | - | - | - | - | - | mg/m3
|  |  |  | NOX (UNOR, MULTOR) | 0-100 | - | - | - | - | - | mg/m3
|  |  |  | SO2 (UNOR, MULTOR) | 0-75 | 0-200 | 0-75 | - | - | - | mg/m3
|  |  |  | CH4 (UNOR, MULTOR) | 0-50 | - | - | - | - | - | mg/m3
|  |  |  | CH2 (UNOR, MULTOR) | 0-286 | - | - | - | - | - | mg/m3
|  |  |  | N2O (UNOR, MULTOR) | 0-50 | - | - | - | - | - | mg/m3
|  |  |  | CO2 (UNOR, MULTOR) | 0-25 | 0-25 | - | - | - | - | Vol.-%
|  |  |  | O2 (UNOR, MULTOR) | 0-25 | 0-25 | - | - | - | - | Vol.-%
SICK AG | MCS 100 FT Multi- Component Analyser | Sira MC 100184 07 | 2020-12-21 | SO2 | 0-75 | 0-300 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020p | 0049 76414690 | 01727 831121
|  |  |  | NO | 0-200 | 0-400 | - | - | - | - | mg/m3
|  |  |  | CO | 0-75 | 0-300 | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-90 | - | - | - | - | mg/m3
|  |  |  | HF | 0-3 | 0-90 | - | - | - | - | mg/m3
|  |  |  | TOC | 0-15 | 0-50 | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-10 | 0-50 | - | - | - | - | mg/m3
|  |  |  | H2O | 0-40 | - | - | - | - | - | Vol.-%
|  |  |  | NO2 | 0-100 | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-50 | - | - | - | - | - | mg/m3
|  |  |  | CH4 | 0-50 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-21 | - | - | - | - | - | Vol.-%
SICK AG | GMS810 – FIDOR TOC analyser | Sira MC 120192 04 | 2020-08-26 | TOC | 0-15 | 0-50 | 0-150 | 0-500 | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | 0049 76414690 | 01727 831121
SICK AG | MERCEM300Z Mercury Monitoring System | Sira MC 120216 03 | 2018-08-23 | Hg | 0-10 | 0-45 | - | - | - | - | µg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 01727 831121
SICK AG | FWE200DH Dust Monitor | Sira MC 140249 03 | 2019-04-23 | Dust | 0-7.5 | 0.15 | 0-20 SE | 0-50 | 0-100 | 0-500 | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 01727 831121
SICK AG | ZIRKOR200 | Sira MC 170327 01 | 2020-04-23 | O2 | 0-25 | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | 3.5, June 2016 | 0049 76414690 | 01727 831121
SICK AG | GM32 LowNOx GMP | Sira MC 190345 00 | 2019-08-29 | SO2 | 0-75 | 0-1000 | 0-2500 | - | - | - | mg/m3 x m | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 1728 831121
|  |  |  | NO | 0-70 | 0-700 | 0-1302 | - | - | - | mg/m3 x m
SICK AG | MCS200HW | Sira MC 190348 00 | 2019-03-22 | CO | 0-75 | 0-10000 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 1728 831121
|  |  |  | NO | 0-150 | 0-2500 | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-100 | 0-500 | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0-2500 | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-3000 | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-10 | 0-500 | - | - | - | - | mg/m3
|  |  |  | CH4 | 0-50 | 0-500 | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-40 | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | TOC | 0-15 | 0-50 | 0-150 | 0-500 | - | - | mg/m3
SICK Engineering GmbH | FLOWSIC100 Gas Flowmeter | Sira MC 040040 05 | 2019-08-09 | Velocity | 0-20 | 0-40 | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | 0049 76414690 | 1728 831121
SICK MAIHAK GmbH | GM35 In-situ Gas Analyser Model Cross-Duct & Model Measuring Probe GMP | Sira MC 070097 03 | 2017-01-16 | Cross-Duct CO | 0-75 | 0-700 | - | - | - | - | mg/m3 | n/a | MCERTS | 3.3, January 2011 | 0049 76414690 | 1728 831121
|  |  |  | Cross-Duct CO2 | 0-15 | - | - | - | - | - | Vol.-%
|  |  |  | Cross-Duct H2O | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | GMP CO | 0-225 | 0-10240 | - | - | - | - | mg/m3
|  |  |  | GMP CO2 | 0-22.5 | - | - | - | - | - | mg/m3
|  |  |  | GMP H2O | 0-25 | - | - | - | - | - | Vol.-%
Siemens AG | OXYMAT 6 Oxygen analyser | Sira MC 040032 06 | 2019-02-25 | O2 | 0-5 | 0-25 | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1905 450500
Siemens AG | ULTRAMAT 23 Multi-component gas analyser | Sira MC 040033 09 | 2019-03-04 | SO2 | 0-400 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1905 450500
|  |  |  | NO | 0-100 | 0-250 | 0-400 | 0-750 | - | - | mg/m3
|  |  |  | CO | 0-150 | 0-250 | - | - | - | - | mg/m3
|  |  |  | O2 | 0-10 | 0-25 | - | - | - | - | Vol.-%
Siemens AG | ULTRAMAT 6 Multi-component gas analyser | Sira MC 040034 08 | 2019-05-29 | SO2 | 0-75 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1905 450500
|  |  |  | NO | 0-100 | 0-200 | - | - | - | - | mg/m3
|  |  |  | CO | 0-50 | 0-75 | - | - | - | - | mg/m3
Siemens AG | ULTRAMAT/OXYMAT 6 Multi-component gas analyser | Sira MC 040035 07 | 2019-02-25 | SO2 | 0-75 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1905 450500
|  |  |  | NO | 0-100 | 0-200 | - | - | - | - | mg/m3
|  |  |  | CO | 0-50 | 0-75 | - | - | - | - | mg/m3
|  |  |  | O2 | 0-5 | 0-25 | - | - | - | - | Vol.-%
Siemens AG | LDS 6 Ammonia analyser | Sira MC 060088 08 | 2018-11-16 | NH3 | 0-20 | 0-76 | 0-380 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.5, June 2016 |  | +44 (0)1905 450500
|  |  |  | H2O | 0-30 | 0-40 | - | - | - | - | Vol.-%
Siemens AG | LDS 6 HCl analyser | Sira MC 080118 06 | 2017-11-06 | HCL | 0-15 | 0-90 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.5, June 2016 |  | +44 (0)1905 450500
|  |  |  | H2O | 0-30 | - | - | - | - | - | Vol.-%
Siemens AG | SIPROCESS UV600 | Sira MC 120202 03 | 2021-01-18 | NO | 0-50 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 |  | +44 (0)1905 450500
|  |  |  | NO2 | 0-50 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | - | - | - | - | - | mg/m3
Siemens AG | SET CEM CERT | Sira MC 160288 04 | 2021-03-19 | CO | 0-75 | 0-200 | 0-250 | 0-1000 | 0-1250 | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 |  | +44 (0)1905 450500
|  |  |  | NOX | 0-150 | 0-230 | 0-400 | 0-613 | - | - | mg/m3
|  |  |  | NO | 0-50 | 0-100 | 0-600 | 0-1000 | - | - | mg/m3
|  |  |  | NO2 | 0-50 | 0-1000 | - | 0-1250 | - | - | mg/m3
|  |  |  | SO2 | 0-70 | 0-75 | 0-400 | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | 0-30 | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | 0-5 | - | - | - | - | Vol.-%
Siemens AG | FIDAMAT 6 | Sira MC 170331 02 | 2018-11-27 | TOC | 0-15 | 0-50 | 0-150 | 0-500 | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 3.5, June 2016 |  | +44 (0)1905 450500
Sintrol Oy | S305QAL Dust Monitor | Sira MC 200365 01 | 2021-05-21 | Dust | 0-7.5 | 0-15 | 0-100 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 |  | +35895617360
SK-Elektronik GmbH | UPAS-FID ES | Sira MC 200362 00 | 2020-11-23 | TOC | 0-15 | 0-30 | 0-100 | 0-500 | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 | +49 2171 39550
SK-Elektronik GmbH (Formerly Meß & Analysentechnik GbmH) | Thermo-FID TOC Analyser (Model MK, FE, ES, TG, PT & KA) | Sira MC 050062 05 | 2020-09-29 | TOC | 0-15 | 0-30 | 0-2000 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 | +49 2171 39550
Testa | iFiD Rack | Sira MC 200361 00 | 2020-09-29 | TOC | 0-15 | 0-30 | 0-150 | 0-500 | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 004989-1293005 |  | www.testa-fid.de